## Slide 2
In this project presents a new system configuration of the front-end rectifier stage for a hybrid wind/photovoltaic energy system. This configuration allows the two sources to supply the load separately or simultaneously depending on the availability of the energy sources.

## Slide 3
MICRO
CONTROLLER
Driver Unit
DC- Supply
Ac-supply
Ac –Dc rectifier
Dc-dc converter
Dc –ac inverter
Dc – dc converter
Load

## Slide 4
Low operating cost
Easy to charge
High power quality

## Slide 5
Distributed Generation Applications,
Constant Speed and Variable Speed Wind Energy Conversion Systems,
Photovoltaic Energy System .

## Slide 7
1. S.K. Kim, J.H Jeon, C.H. Cho, J.B. Ahn, and S.H. Kwon, “Dynamic
Modeling and Control of a Grid-Connected Hybrid Generation System
with Versatile Power Transfer,” IEEE Transactions on Industrial
Electronics, vol. 55, pp. 1677-1688, April 2008.
2. D. Das, R. Esmaili, L. Xu, D. Nichols, “An Optimal Design of a Grid
Connected Hybrid Wind/Photovoltaic/Fuel Cell System for Distributed
Energy Production,” in Proc. IEEE Industrial Electronics Conference,
pp. 2499-2504, Nov. 2005.