CONSTRUCTION OF TRANSFORMER

Abstract:

This paper describes the principle and construction of transformer in brief. All parts in transformer are explained like Bushings, Conservator tank, Breather, etc.., Types of transformers.

Introduction:

Transformer is a device which is used to transform electrical energy from one circuit another circuit without any change in frequency. This process goes through inductively coupled circuits which are the coils of the transformer. It consists of two coils they are primary and secondary coils.

Principle of Transformer:

The transformer works on the principle of ‘MUTUAL INDUCTION’. An alternating flux in the primary coil will create an alternating flux in the transformer core, which is linked with the other coil which produces a mutually induced emf according to faraday’s laws of electromagnetic induction.

If the secondary circuit is connected to the load then the electrical current passes through the secondary winding which is transferred from primary coil. To step up the voltage the secondary  winding turns are greater than the primary winding turns and for the step down the primary winding turns should be more than the secondary winding turns.

Construction of Transformer:

The transformer is very simple in construction and it consists of magnetic circuit linking with two windings. The main parts of transformer are

- Core construction.

- Windings.

- Bushings.

- Transformer tank.

- Conservator tank.

- Breather.

- Buchholz relay.

Core construction:

.        Core of the transformer is either in square or rectangular in size. It is further divided into two parts. The vertical position of the core is limbs and horizontal position of the core is yoke of the core. Core is made up of laminations to reduce the eddy current losses get minimized. This lamination is insulated by using insulations line varnish or thick paper. Paper insulation is used for low voltage transformer and varnish is used for high voltage transformer.

Shell type transformer                                                core type transformer

Windings:

Conducting material is used in the windings of the transformer. Usually the windings are in concentrically to minimize the flux leakages. There are two types of windings. The coils are wound on the limbs and are insulated from each other in the basic transformer the two windings wound on the two different limbs. Due to this leakage flux increases which affects the transformer efficiency or performance so it should be necessary that the windings should be very close to each other to increase the mutual inductance and stray capacitance to improve the high frequency response.

Such cylindrical coils are used in core type transformers and sandwich coils are very commonly used in shell type transformer here each high voltage winding lies between two low voltage windings such subdivisions of windings  into small portions reduce  the flux leakages.

Transformer tank:

Small capacity tanks are fabricated from sheet steel while larger ones are assembled with cast aluminium. For cooling purpose the tank is welded with cooling tubes. These are some types of transformer tanks.

Conservator tank:

Conservator tank consists of oil level which depends on the operation of the transformer. The oil expands in summer with the increase in load and the oil contracts with decrease of the load. Conservator is a small auxiliary oil tank that may be mounted above the transformer and connected to the main tank by a pipe.

Its main function is to keep the main tank of the transformer completely filled with the oil in all circumstances. When the oil in the tank contracts then the conservator gives the oil to maintain the oil level in the tank. When the oil in the tank expands then the conservator takes the oil.

Buchhloz relay:

Buchhloz relay is a gas and oil activated protective device. It is practically used in all oil immersed transformers having rating more than 750kVA. It is installed in the pipe joining between the conservator and is used to give alarm in case of minor faults and to disconnect the transformer from the supply mains in case of severe internal faults.

Bushings:

The bushings consists of a current carrying element in the form of a conducting rod upto 33KV ordinary porcelain insulators can be used above this voltage ratings oil-filled are capacitor type bushings are used. The bushing is very important to the overall transformer because without it, conduction would not be possible. The bushings are necessary to complete the conductive energy output of the volts that are transformed within the transformer so that they can then move through mediums such as air and gas, including the grounding barriers that each unit is designed with. These are some figures of bushings.

Breather:

When the transformer gets warm the oil and gas expands the gas at the top of the oil is expelled out when the transformer cools when air is drawn into the transformer.

“The breather is mainly used to avoid moisture from the transformer. If the moisture enters into the transformer the insulation provided between the two windings is damaged and it begins to conduct and the windings are damaged.”

In this process moisturized air should be entered into the transformer. Breather consists of silica gel which absorbs the moisture from the air and this air is send into the transformer. This process is called as BREATHING. The material is blue when dry and a whitish pink when dam. Also the breather consists of oil cap which avoid entering dust particles into the transformer.

Silica gel Breather

Conclusion:

Mainly we use the step up transformer in the power stations and the step down transformers are used in sub stations, distribution stations.  We can design the transformer by using the above points. Each point is briefly explained in the above points.

Result:

These are the constructional features of the transformer and the main points in the design of the transformer.