GENERATION OF ELECTRICITY USING TIDAL POWER

1.ABSTRACT

Tidal power is the only form of energy which derives directly from the relative motions of the Earth–Moon system, and to a lesser extent from the Earth–Sun system. The tidal forces produced by the Moon and Sun, in combination with Earth's rotation, are responsible for the generation of the tides. Other sources of energy originate directly or indirectly from the Sun, including fossil fuels, conventional hydroelectric, wind, biofuels, wave power and solar. Nuclear is derived using radioactive material from the Earth, geothermal power uses the Earth's internal heat which comes from a combination of residual heat from planetary accretion (about 20%) and heat produced through radioactive decay (80%).[4]

Variation of tides over a day

Tidal energy is generated by the relative motion of the water which interact via gravitational forces. Periodic changes of water levels, and associated tidal currents, are due to the gravitational attraction by the Sun and Moon. The magnitude of the tide at a location is the result of the changing positions of the Moon and Sun relative to the Earth, the effects of Earth rotation, and the local shape of the sea floor and coastlines.

Because the Earth's tides are caused by the tidal forces due to gravitational interaction with the Moon and Sun, and the Earth's rotation, tidal power is practically inexhaustible and classified as a renewable energy source.

A tidal generator uses this phenomenon to generate electricity. The stronger the tide, either in water level height or tidal current velocities, the greater the potential for tidal electricity generation.

Tidal movement causes a continual loss of mechanical energy in the Earth–Moon system due to pumping of water through the natural restrictions around coastlines, and due to viscous dissipation at the seabed and in turbulence. This loss of energy has caused the rotation of the Earth to slow in the 4.5 billion years since formation. During the last 620 million years the period of rotation has increased from 21.9 hours to the 24 hour.we see now; in this period the Earth has lost 17% of its rotational energy. While tidal power may take additional energy from the system, increasing the rate of slowdown, the effect would be noticeable over millions of years only, thus being negligible.

## 2. Categories of tidal power

Tidal power can be classified into three main types:

- Tidal stream systems make use of the kinetic energy of moving water to power turbines, in a similar way to windmills that use moving air. This method is gaining in popularity because of the lower cost and lower ecological impact compared to barrages.

- Barrages make use of the potential energy in the difference in height (or head) between high and low tides. Barrages are essentially dams across the full width of a tidal estuary, and suffer from very high civil infrastructure costs, a worldwide shortage of viable sites, and environmental issues.

- Dynamic tidal power exploits a combination of potential and kinetic energy: by constructing long dams of 30–50 km in length from the coast straight out into the sea or ocean, without enclosing an area. Both the obstruction of the tidal flow by the dam – as well as the tidal phase differences introduced by the presence of the dam (which is not negligible in length as compared to the tidal wavelength) – lead to hydraulic head differences along the dam. Turbines in the dam are used to convert power (6–15 GW per dam). In shallow coastal seas featuring strong coast-parallel oscillating tidal currents (common in the UK, China and Korea), a significant water level differential (2–3 meter) will appear between both sides of the dam.

Modern advances in turbine technology may eventually see large amounts of power generated from the ocean, especially tidal currents using the tidal stream designs but also from the major thermal current systems such as the Gulf Stream, which is covered by the more general term marine current power. Tidal stream turbines may be arrayed in high-velocity areas where natural tidal current flows are concentrated such as the west and east coasts of Canada, the Strait of Gibraltar, the Bosporus, and numerous sites in Southeast Asia and Australia. Such flows occur almost anywhere where there are entrances to bays and rivers, or between land masses where water currents are concentrated.

## 2.1 Tidal stream generators

### 2.1.1 Types of tidal stream generators

Since tidal stream generators are an immature technology, no standard technology has yet emerged as the clear winner, but a large variety of designs are being experimented with, some very close to large scale deployment. Several prototypes have shown promise with many companies making bold claims, some of which are yet to be independently verified, but they have not operated commercially for extended periods to establish performances and rates of return on investments.

The European Marine Energy Centre[8] categorises them under four heads although a number of other approaches are also being tried.

#### Axial Turbines

Evopod - A semi-submerged floating approach tested in Strangford Lough.

These are close in concept to traditional windmills operating under the sea and have the most prototypes currently operating. These include:

Kvalsund, south of Hammerfest, Norway.[9] Although still a prototype, a turbine with a reported capacity of 300 kW was connected to the grid on 13 November 2003.

A 300 kW Periodflow marine current propeller type turbine — Seaflow — was installed by Marine Current Turbines off the coast of Lynmouth, Devon, England, in 2003.[10] The 11m diameter turbine generator was fitted to a steel pile which was driven into the seabed. As a prototype, it was connected to a dump load, not to the grid.

Since April 2007 Verdant Power[11] has been running a prototype project in the East River between Queens and Roosevelt Island in New York City; it was the first major tidal-power project in the United States.[12] The strong currents pose challenges to the design: the blades of the 2006 and 2007 prototypes broke off, and new reinforced turbines were installed in September 2008.[13][14]

Following the Seaflow trial, a fullsize prototype, called SeaGen, was installed by Marine Current Turbines in Strangford Lough in Northern Ireland in April 2008. The turbine began to generate at full power of just over 1.2 MW in December 2008[15] and is reported to have fed 150 kW into the grid for the first time on 17 July 2008, and has now contributed more than a gigawatt hour to consumers in Northern Ireland.[16] It is currently the only commercial scale device to have been installed anywhere in the world.[17] SeaGen is made up of two axial flow rotors, each of which drive a generator. The turbines are capable of generating electricity on both the ebb and flood tides because the rotor blades can pitch through 180˚.[18]

OpenHydro, an Irish company exploiting the Open-Centre Turbine developed in the U.S., has a prototype being tested at the European Marine Energy Centre (EMEC), in Orkney, Scotland.

A prototype semi-submerged floating tethered tidal turbine called Evopod has been tested since June 2009 in Strangford Lough, Northern Ireland at 1/10th scale. The company developing it is called Ocean Flow Energy Ltd,[21] and they are based in the UK. The advanced hull form maintains optimum heading into the tidal stream and it is designed to operate in the peak flow of the water column.

Tenax Energy of Australia is proposing to put 450 turbines off the coast of the Australian city Darwin, in the Clarence Strait. The turbines feature a rotor section that is approximately 15 metres in diameter with a gravity base which is slighter larger than this to support the structure. The turbines will operate in deep water well below shipping channels. Each turbine is forecast to produce energy for between 300 and 400 homes.[22]

#### Vertical and horizontal axis crossflow turbines

Invented by Georges Darreius in 1923 and Patented in 1929, these turbines that can be deployed either vertically or horizontally.

The Gorlov turbine[23] is a variant of the Darrieus design featuring a helical design which is being commercially piloted on a large scale in S. Korea,[24] starting with a 1MW plant that started in May 2009[25] and expanding to 90MW by 2013. Neptune Renewable Energy has developed Proteus[26] which can be used to form an array in mainly estuarine conditions.

In late April 2008, Ocean Renewable Power Company, LLC (ORPC) [4] successfully completed the testing of its proprietary turbine-generator unit (TGU) prototype at ORPC's Cobscook Bay and Western Passage tidal sites near Eastport, Maine.[27] The TGU is the core of the OCGen technology and utilizes advanced design cross-flow (ADCF) turbines to drive a permanent magnet generator located between the turbines and mounted on the same shaft. ORPC has developed TGU designs that can be used for generating power from river, tidal and deep water ocean currents.

Trials in the Strait of Messina, Italy, started in 2001 of the Kobold concept.[28]

Oscillating devices

Oscillating devices do not have a rotating component, instead making use of aerofoil sections which are pushed sideways by the flow. Oscillating stream power extraction was proven with the omni- or bi-directional Wing'd Pump windmill.[29] During 2003 a 150 kW oscillating hydroplane device, the Stingray, was tested off the Scottish coast.[30] The Stingray uses hydrofoils to create oscillation, which allows it to create hydraulic power. This hydraulic power is then used to power a hydraulic motor, which then turns a generator.[6]

Pulse Tidal operate an oscillating hydrofoil device in the Humber estuary.[31] Having secured funding from the EU, they are developing a commercial scale device to be commissioned 2012.[32]

The bioSTREAM tidal power conversion system, uses the biomimicry of swimming species, such as shark, tuna, and mackerel using their highly efficient Thunniform mode propulsion. It is produced by Australian company BioPower Systems.

A 2kW prototype relying on the use of two oscillating hydrofoils in a tandem configuration has been developed at Laval University and tested successfully near Quebec City, Canada, in 2009. A hydrodynamic efficiency of 40% has been achieved during the field tests.[33]

#### Venturi effect

Further information: Venturi effect

This uses a shroud to increase the flow rate through the turbine. These can be mounted horizontally or vertically.

The Australian company Tidal Energy Pty Ltd undertook successful commercial trials of highly efficient shrouded tidal turbines on the Gold Coast, Queensland in 2002. Tidal Energy has commenced a rollout of their shrouded turbine for a remote Australian community in northern Australia where there are some of the fastest flows ever recorded (11 m/s, 21 knots) – two small turbines will provide 3.5 MW. Another larger 5 meter diameter turbine, capable of 800 kW in 4 m/s of flow, is planned for deployment as a tidal powered desalination showcase near Brisbane Australia in October 2008. Another device, the Hydro Venturi, is to be tested in San Francisco Bay.[34]

### 2.1.2 Commercial plans

RWE's npower announced that it is in partnership with Marine Current Turbines to build a tidal farm of SeaGen turbines off the coast of Anglesey in Wales,[35] near the Skerries.[36]

In November 2007, British company Lunar Energy announced that, in conjunction with E.ON, they would be building the world's first deep-sea tidal energy farm off the coast of Pembrokshire in Wales. It will provide electricity for 5,000 homes. Eight underwater turbines, each 25 metres long and 15 metres high, are to be installed on the sea bottom off St David's peninsula. Construction is due to start in the summer of 2008 and the proposed tidal energy turbines, described as "a wind farm under the sea", should be operational by 2010.

British Columbia Tidal Energy Corp. plans to deploy at least three 1.2 MW turbines in the Campbell River or in the surrounding coastline of British Columbia by 2009.[37][dated info]

An organisation named Alderney Renewable Energy Ltd is planning to use tidal turbines to extract power from the notoriously strong tidal races around Alderney in the Channel Islands. It is estimated that up to 3 GW could be extracted. This would not only supply the island's needs but also leave a considerable surplus for export.[38]

Nova Scotia Power has selected OpenHydro's turbine for a tidal energy demonstration project in the Bay of Fundy, Nova Scotia, Canada and Alderney Renewable Energy Ltd for the supply of tidal turbines in the Channel Islands. Open Hydro

Pulse Tidal are designing a commercial device with seven other companies who are expert in their fields.[39] The consortium was awarded an €8 million EU grant to develop the first device, which will be deployed in 2012 and generate enough power for 1,000 homes. Pulse is in a good position to scale up production because the supply chain is already in place.

### 2.1.3 Energy calculations

#### Turbine power

Various turbine designs have varying efficiencies and therefore varying power output. If the efficiency of the turbine "ξ" is known the equation below can be used to determine the power output of a turbine..

The energy available from these kinetic systems can be expressed as:[40]

where:

ξ = the turbine efficiency

P = the power generated (in watts)

ρ = the density of the water (seawater is 1025 kg/m³)

A = the sweep area of the turbine (in m²)

V = the velocity of the flow

Relative to an open turbine in free stream, depending on the geometry of the shroud shrouded turbines are capable of as much as 3 to 4 times the power of the same turbine rotor in open flow. .[40]

#### Resource assessment

While initial assessments of the available energy in a channel have focus on calculations using the kinetic energy flux model, the limitations of tidal power generation are significantly more complicated. For example, the maximum physical possible energy extraction from a strait is given by:[41][42]

where

ρ = the density of the water (seawater is 1025 kg/m³)

g = gravitational acceleration (9.81 m/s2)

ΔHmax = maximum differential water surface elevation across the channel

Qmax= maximum volumetric flow rate though the channel.

### 2.1.4 Potential sites

As with wind power, selection of location is critical for the tidal turbine. Tidal stream systems need to be located in areas with fast currents where natural flows are concentrated between obstructions, for example at the entrances to bays and rivers, around rocky points, headlands, or between islands or other land masses. The following potential sites are under serious consideration:

- Pembrokeshire in Wales[43]

- River Severn between Wales and England[44]

- Cook Strait in New Zealand[45]

- Kaipara Harbour in New Zealand[46]

- Bay of Fundy[47] in Canada.

- East River[48][49] in the USA

- Golden Gate in the San Francisco Bay[50]

- Piscataqua River in New Hampshire[51]

- The Race of Alderney and The Swinge in the Channel Islands[38]

- The Sound of Islay, between Islay and Jura in Scotland[52]

- Pentland Firth between Caithness and the Orkney Islands, Scotland

- Humboldt County, California in the United States

### 2.1.5 Environmental Impacts

Very little direct research or observation of tidal stream systems exists. Most direct observations consist of releasing tagged fish upstream of the device(s) and direct observation of mortality or impact on the fish.

One study of the Roosevelt Island Tidal Energy (RITE, Verdant Power) project in the East River (New York City), utilized 24 split beam hydroacoustic sensors (scientific echosounder[53]) to detect and track the movement of fish both upstream and downstream of each of six turbines. The results suggested (1) very few fish using this portion of the river, (2) those fish which did use this area were not using the portion of the river which would subject them to blade strikes, and (3) no evidence of fish traveling through blade areas.

Work is currently being conducted by the Northwest National Marine Renewable Energy Center (NNMREC[54])to explore and establish tools and protocols for assessment of physical and biological conditions and monitor environmental changes associa er than that of similarly rated wind energy turbine. The higher density of water relative to air (water is about 800 times the density of air) means that a single generator can provide significant power at low tidal flow velocities compared with similar wind speed.[7] Given that power varies with the density of medium and the cube of velocity, it is simple to see that water speeds of nearly one-tenth of the speed of wind provide the same power for the same size of turbine system; however this limits the application in practice to places where the tide moves at speeds of at least 2 knots (1m/s) even close to neap tides. Furthermore, at higher speeds in a flow between 2 to 3 metres per second in seawater a tidal turbine can typically access four times as much energy per rotor swept area as a similarly rated power wind turbine.

er than that of similarly rated wind energy turbine. The higher density of water relative to air (water is about 800 times the density of air) means that a single generator can provide significant power at low tidal flow velocities compared with similar wind speed.[7] Given that power varies with the density of medium and the cube of velocity, it is simple to see that water speeds of nearly one-tenth of the speed of wind provide the same power for the same size of turbine system; however this limits the application in practice to places where the tide moves at speeds of at least 2 knots (1m/s) even close to neap tides. Furthermore, at higher speeds in a flow between 2 to 3 metres per second in seawater a tidal turbine can typically access four times as much energy per rotor swept area as a similarly rated power wind turbine.

er than that of similarly rated wind energy turbine. The higher density of water relative to air (water is about 800 times the density of air) means that a single generator can provide significant power at low tidal flow velocities compared with similar wind speed.[7] Given that power varies with the density of medium and the cube of velocity, it is simple to see that water speeds of nearly one-tenth of the speed of wind provide the same power for the same size of turbine system; however this limits the application in practice to places where the tide moves at speeds of at least 2 knots (1m/s) even close to neap tides. Furthermore, at higher speeds in a flow between 2 to 3 metres per second in seawater a tidal turbine can typically access four times as much energy per rotor swept area as a similarly rated power wind turbine.

er than that of similarly rated wind energy turbine. The higher density of water relative to air (water is about 800 times the density of air) means that a single generator can provide significant power at low tidal flow velocities compared with similar wind speed.[7] Given that power varies with the density of medium and the cube of velocity, it is simple to see that water speeds of nearly one-tenth of the speed of wind provide the same power for the same size of turbine system; however this limits the application in practice to places where the tide moves at speeds of at least 2 knots (1m/s) even close to neap tides. Furthermore, at higher speeds in a flow between 2 to 3 metres per second in seawater a tidal turbine can typically access four times as much energy per rotor swept area as a similarly rated power wind turbine.

er than that of similarly rated wind energy turbine. The higher density of water relative to air (water is about 800 times the density of air) means that a single generator can provide significant power at low tidal flow velocities compared with similar wind speed.[7] Given that power varies with the density of medium and the cube of velocity, it is simple to see that water speeds of nearly one-tenth of the speed of wind provide the same power for the same size of turbine system; however this limits the application in practice to places where the tide moves at speeds of at least 2 knots (1m/s) even close to neap tides. Furthermore, at higher speeds in a flow between 2 to 3 metres per second in seawater a tidal turbine can typically access four times as much energy per rotor swept area as a similarly rated power wind turbine.

### 2.1.6 Energy calculations

The energy available from a barrage is dependent on the volume of water. The potential energy contained in a volume of water is:[61]

where:

- h is the vertical tidal range,

- A is the horizontal area of the barrage basin,

- ρ is the density of water = 1025 kg per cubic meter (seawater varies between 1021 and 1030 kg per cubic meter) and

- g is the acceleration due to the Earth's gravity = 9.81 meters per second squared.

The factor half is due to the fact, that as the basin flows empty through the turbines, the hydraulic head over the dam reduces. The maximum head is only available at the moment of low water, assuming the high water level is still present in the basin.

#### Example calculation of tidal power generation

Assumptions:

- Let us assume that the tidal range of tide at a particular place is 32 feet = 10 m (approx)

- The surface of the tidal energy harnessing plant is 9 km² (3 km × 3 km)= 3000 m × 3000 m = 9 × 106 m2

- Density of sea water = 1025.18 kg/m3

Mass of the sea water = volume of sea water × density of sea water

= (area × tidal range) of water × mass density

= (9 × 106 m2 × 10 m) × 1025.18 kg/m3

= 92 × 109 kg (approx)

Potential energy content of the water in the basin at high tide = ½ × area × density × gravitational acceleration × tidal range squared

= ½ × 9 × 106 m2 × 1025 kg/m3 × 9.81 m/s2 × (10 m)2

=4.5 × 1012 J (approx)

Now we have 2 high tides and 2 low tides every day. At low tide the potential energy is zero.
Therefore the total energy potential per day = Energy for a single high tide × 2

= 4.5 × 1012 J × 2

= 9 × 1012 J

Therefore, the mean power generation potential = Energy generation potential / time in 1 day

= 9 × 1012 J / 86400 s

= 104 MW

Assuming the power conversion efficiency to be 30%: The daily-average power generated = 104 MW * 30% / 100%

= 31 MW (approx)

Because the available power varies with the square of the tidal range, a barrage is best placed in a location with very high-amplitude tides. Suitable locations are found in Russia, USA, Canada, Australia, Korea, the UK. Amplitudes of up to 17 m (56 ft) occur for example in the Bay of Fundy, where tidal resonance amplifies the tidal range.

### 2.1.7 Economics

Tidal barrage power schemes have a high capital cost and a very low running cost. As a result, a tidal power scheme may not produce returns for many years, and investors may be reluctant to participate in such projects.

Governments may be able to finance tidal barrage power, but many are unwilling to do so also due to the lag time before investment return and the high irreversible commitment. For example the energy policy of the United Kingdom[62] recognizes the role of tidal energy and expresses the need for local councils to understand the broader national goals of renewable energy in approving tidal projects. The UK government itself appreciates the technical viability and siting options available, but has failed to provide meaningful incentives to move these goals forward.

## 2.2 Operating tidal power schemes

- The first tidal power station was the Rance tidal power plant built over a period of 6 years from 1960 to 1966 at La Rance, France.[70] It has 240 MW installed capacity.

- The first tidal power site in North America is the Annapolis Royal Generating Station, Annapolis Royal, Nova Scotia, which opened in 1984 on an inlet of the Bay of Fundy.[71] It has 18 MW installed capacity.

- The first in-stream tidal current generator in North America (Race Rocks Tidal Power Demonstration Project) was installed at Race Rocks on southern Vancouver Island in September 2006.[72][73] The next phase in the development of this tidal current generator will be in Nova Scotia.[74]

- A small project was built by the Soviet Union at Kislaya Guba on the Barents Sea. It has 0.4 MW installed capacity. In 2006 it was upgraded with 1.2MW experimental advanced orthogonal turbine.

- Jindo Uldolmok Tidal Power Plant in South Korea is a tidal stream generation scheme planned to be expanded progressively to 90 MW of capacity by 2013. The first 1 MW was installed in May 2009.[75]

- 1.2 MW SeaGen system became operational in late 2008 on Strangford Lough in Northern Ireland.[76]

- The Jiangxia Tidal Power Station near the mouth of the Yalu River in China is operational, with current installed capacity of 3.2 MW. It may be expanded.[77]

## Tidal power schemes being considered

See also: List of tidal power stations

| Country | Place | Mean tidal range (m) | Area of basin (km²) | Maximum capacity (MW) | Ref |
| --- | --- | --- | --- | --- | --- |
| United Kingdom | River Severn | 7.8 | 450 | 8,640 |  |
| Russia | Penzhinskaya Bay | 6.0 | 20,500 | 87,000 | [78][79][80] |

- 254 MW Sihwa Lake Tidal Power Plant in South Korea is under construction and planned to be completed by August 2010.[81]

- The contract for an 812 MW tidal barrage near Ganghwa Island north-west of Incheon has been signed by Daewoo. Completion is planned for 2015.[81]

- A 1,320 MW Incheon Tidal Power Station built around islands west of Incheon is proposed by the Korean government, with projected construction start in 2017.[82]

- Other South Korean projects include barrages planned for Garorim Bay, Ansanman, and Swaseongho, and tidal generation associated with the Saemangeum reclamation project. The barrages are all in the multiple-hundred megawatts range.[83]

- Estimates for new tidal barrages in England give the potential generation at 5.6GW mean power.[84]

## See also

|  | Renewable energy portal |
| --- | --- |
|  | Energy portal |
|  | Sustainable development portal |

- Category:Energy by country

- Run-of-the-river hydroelectricity

- Marine current power

- Stream energy

- Ocean energy

- Thermal energy

- World energy resources and consumption

## References

- Baker, A. C. 1991, Tidal power, Peter Peregrinus Ltd., London.

- Baker, G. C., Wilson E. M., Miller, H., Gibson, R. A. & Ball, M., 1980. "The Annapolis tidal power pilot project", in Waterpower '79 Proceedings, ed. Anon, U.S. Government Printing Office, Washington, pp 550–559.

- Hammons, T. J. 1993, "Tidal power", Proceedings of the IEEE, [Online], v81, n3, pp 419–433. Available from: IEEE/IEEE Xplore. [July 26, 2004].

- Lecomber, R. 1979, "The evaluation of tidal power projects", in Tidal Power and Estuary Management, eds. Severn, R. T., Dineley, D. L. & Hawker, L. E., Henry Ling Ltd., Dorchester, pp 31–39.

## Notes

- ^ http://journals.pepublishing.com/content/l2525g3001286200/

- ^ Spain, Rob: "A possible Roman Tide Mill", Paper submitted to the Kent Archaeological Society

- ^ Minchinton, W. E. (October 1979). "Early Tide Mills: Some Problems". Technology and Culture (Society for the History of Technology) 20 (4): 777–786. doi:10.2307/3103639. http://jstor.org/stable/3103639.

- ^ Turcotte, D. L.; Schubert, G. (2002). "4". Geodynamics (2 ed.). Cambridge, England, UK: Cambridge University Press. pp. 136–137. ISBN 978-0-521-66624-4.

- ^ George E. Williams (2000). "Geological constraints on the Precambrian history of Earth's rotation and the Moon's orbit". Reviews of Geophysics 38: 37–60. doi:10.1029/1999RG900016. http://adsabs.harvard.edu/abs/2000RvGeo..38...37W.

- ^ a b Jones, Anthony T., and Adam Westwood. "Power from the oceans: wind energy industries are growing, and as we look for alternative power sources, the growth potential is through the roof. Two industry watchers take a look at generating energy from wind and wave action and the potential to alter." The Futurist 39.1 (2005): 37(5). GALE Expanded Academic ASAP. Web. 8 October 2009.

^ "Surfing Energy's New Wave" Time International 16 June 2003: 52+.