## Slide 1
STUDY OF SUBSTATION EQUIPMENT AND PROTECTION

## Slide 2: ABSTRACT:
The economics of generation of electrical energy and the huge demands of power in the modern times require creation bigger power plant . These may be hydro , thermal , atomic etc . The transmission network is inevitable . large and high voltage transmission lines are necessary to transmit huge blocks of power from the source of generation to load centers . In b/w the power plant and ultimate consumer a number of transmission and switching stations have to be created . This is done by SUBSTATION . This mini project discuss various equipments and protection of a 220kv/132kv/33kv,DAIRY FARM SUBSTATION.

## Slide 3: SINGLE LINE DIAGRAM OF DAIRY FORM SUBSTATION:

## Slide 5: 100MVA,220KV/132KV AUTO TRANSFORMER(step down t/f):

## Slide 6: ON LOAD TAP CHANGER:

## Slide 7: TAPPINGS AND OTHER EQUIPMENTS IN OLTC:

## Slide 8: CONSERVATOR (store oil) BUCHHOLZ RELAY(makes alarm or trips during during fault conditions:

## Slide 9: RADIATORS(used for cooling purpose):

## Slide 10: BREATHER & SILICA GEL (absorb moisture in air):

## Slide 11: 20/31.5KV AND 132KV/33KV STEP DOWN TRANSFORMER:

## Slide 12: 50MVA,132KV/33KV STEP DOWN POWER TRANSFORMER:

## Slide 13: 33KV TRANSFORMER:

## Slide 14: SF6 CIRCUIT BREAKER:

## Slide 15: LIGHTING ARRESTER & SURGA METER :

## Slide 16: CAPACITOR VOLTAGE T/F& WAVE TRAPER:

## Slide 17: CURRENT TRANSFORMER:

## Slide 18: POTENTAIL TRANSFORMER:

## Slide 19: Isolator:

## Slide 20: FLOAT CHARGER & BOOST CHARGER:

## Slide 21: BATTERIES(heart of the sub station):

## Slide 22: CONTROL PANELS:

## Slide 24: RELAY PANEL:

## Slide 27: PROTECTION:
RELAY CHARACTERISTICS:
SENSITIVITY
SPEED
SELECTIVITY
RELIABILITY
MEASUREMENT:
MAGNITUDE MEASUREMENT
RATIO MEASUREMENT
PROTECT MEASUREMENT
LOGIC MEASUREMENT

## Slide 29: BUCHHOLZ RELAY

## Slide 30
HV/LV | LINES/ TRANSFORMERS | RELAYS
11KV/440V | DISTRIBUTED T/F | FUSE/HORN GAP FUSE
11KV | LINE | OVER CURRENT& EARTH FAULT
33KV/11KV | T/F CAPACITY>8MVA | BUCHELOZ
“ | T/F CAPACITY<8MVA | OVER CURRENT & EARTH FAULT
33KV | LINE | “
132KV/33KV | T/F CAPACITY<8MVA | “ & DIFFERENTIAL
“ | T/F CAPACITY>31.5MVA | OVER FLUX &EXTICTION
132KV | LINE | OVER CURRENT &EARTH FAULT&DISTANCE
220KV/132KV | T/F CAPACITY<=100MVA | OLTC BUCHEOLZ

## Slide 31
HV/LV | LINES/ TRANSFORMERS | RELAYS
220KV/132KV | T/F CAPACITY>100MVA | RESTRICTED EARTH FAULT
220KV | LINE | DISTANCE 1& DISTANCE 2
400KV/220KV | T/F | DIFFERENTIAL 1& DIFFERENTIAL 2
400KV | LINE | DISTANCE 1& DISTANCE 2

## Slide 32: CONCLUSION:
WE HAVE STUDIED THE VARIOUS EQUIPMENT AT 220KV/132KV/33KV DIARY FARM SUB STATION AND VARIOUS PROTECTIONS EMPLOYED FOR THEM.
WE LEARNED 1.SWITCH YARD EQUIPMENT
2.CONTROL ROOM

## Slide 33: REFERENCES:
POWER SYSTEMS V.K MEHTA,ROHIT MEHTA.
POWER SYSTEMS B.R GUPTA
www.google.com
www.electricalandelectronics.org